Rail mounted twilight switch, 2 module, 2-50,000 lux, with wall mounted light sensor (LUNA 110 with wall mounted light sensor)

Rail mounted twilight switch; width 35 mm; separate wall mounted light sensor (IP 55); 5 brightness ranges: 2 - 50,000 lux; On/Off switch delay 0-20 mins.; test button, ON/OFF permanent; instantaneous LED display; DuoFix screwless terminals; test button; 1 two way switch 16A/250V~ with LED display; sealable transparent cover

Deliver, assemble, connect up and set up

...

Make: Theben

Type: LUNA 110 with wall mounted light sensor

Order no.: 110 0 100

Unit: ST